## Sheet
instruments: | Meter: HP | S: FL5730 | X: FL5700
Start Row | 1415 | Stop Row | 1887
| X Range | X Settings (V) | S Range | S Settings (V) | DVM Range | Nominal reading | #Readings | Delay (S) | DVM pause | DVM status | S status | X status | Mean | STD | start time | end time | readings...
| 20 | -10.0 | 10 | -10.0 | 10 | -0.0 | 20.0 | 10.0 | 0.0 | 50.0153868E+00 | DC11V |  | -3.3959918281999991e-05 | 4.1703496447561946e-07 | 1522282717.731 | 1522282733.187 | -3.4576e-05 | -3.4031e-05 | -3.409e-05 | -3.4223e-05 | -3.3354e-05 | -3.468e-05 | -3.437e-05 | -3.3943e-05 | -3.4665e-05 | -3.3619e-05 | -3.412e-05 | -3.4252e-05 | -3.3354e-05 | -3.384e-05 | -3.3958e-05 | -3.4031e-05 | -3.353e-05 | -3.3295e-05 | -3.3663e-05 | -3.3604e-05
| 20 | 0 | 10 | 0 | 10 | 0 | 20.0 | 10.0 | 0.0 | 50.0353741E+00 | DC220MV |  | 1.8030605361999999e-06 | 3.1809431508107169e-07 | 1522282748.045 | 1522282763.532 | 1.3247e-06 | 1.7957e-06 | 1.6191e-06 | 1.8251e-06 | 1.0009e-06 | 1.6044e-06 | 1.6338e-06 | 1.5308e-06 | 1.8693e-06 | 2.1784e-06 | 2.355e-06 | 1.6191e-06 | 1.884e-06 | 2.2078e-06 | 1.7957e-06 | 2.0018e-06 | 2.2667e-06 | 1.7221e-06 | 1.781e-06 | 2.0459e-06
| 20 | -10.0 | 10 | 0 | 10 | -10.0 | 20.0 | 10.0 | 0.0 | 49.9233441E+00 | DC220MV |  | -10.000054745 | 3.8962161127208502e-07 | 1522282778.375 | 1522282793.783 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001
source S: 804 reading 0 is more than 0.1% from nominal. reading 1 is more than 0.1% from nominal. reading 2 is more than 0.1% from nominal. reading 3 is more than 0.1% from nominal. reading 4 is more than 0.1% from nominal. reading 5 is more than 0.1% from nominal. reading 6 is more than 0.1% from nominal. reading 7 is more than 0.1% from nominal. reading 8 is more than 0.1% from nominal. reading 9 is more than 0.1% from nominal. reading 10 is more than 0.1% from nominal. reading 11 is more than 0.1% from nominal. reading 12 is more than 0.1% from nominal. reading 13 is more than 0.1% from nominal. reading 14 is more than 0.1% from nominal. reading 15 is more than 0.1% from nominal. reading 16 is more than 0.1% from nominal. reading 17 is more than 0.1% from nominal. reading 18 is more than 0.1% from nominal. reading 19 is more than 0.1% from nominal. | 1000 | 190.0 | 220 | 0 | 1000 | 190.0 | 20.0 | 10.0 | 0.0 | 49.9658582E+00 | DC1100V |  | 172.725889865 | 6.6566352425597602e-05 | 1522282809.317 | 1522282824.473 | 172.7258 | 172.7258 | 172.7258 | 172.7259 | 172.7258 | 172.7258 | 172.7259 | 172.7258 | 172.7259 | 172.7259 | 172.7259 | 172.7259 | 172.7259 | 172.7259 | 172.7259 | 172.7259 | 172.7259 | 172.7259 | 172.726 | 172.7261
source S: 2232 reading 0 is more than 0.1% from nominal. reading 1 is more than 0.1% from nominal. reading 2 is more than 0.1% from nominal. reading 3 is more than 0.1% from nominal. reading 4 is more than 0.1% from nominal. reading 5 is more than 0.1% from nominal. reading 6 is more than 0.1% from nominal. reading 7 is more than 0.1% from nominal. reading 8 is more than 0.1% from nominal. reading 9 is more than 0.1% from nominal. reading 10 is more than 0.1% from nominal. reading 11 is more than 0.1% from nominal. reading 12 is more than 0.1% from nominal. reading 13 is more than 0.1% from nominal. reading 14 is more than 0.1% from nominal. reading 15 is more than 0.1% from nominal. reading 16 is more than 0.1% from nominal. reading 17 is more than 0.1% from nominal. reading 18 is more than 0.1% from nominal. reading 19 is more than 0.1% from nominal. | 1000 | 100 | 220 | 0 | 1000 | 100 | 20.0 | 10.0 | 0.0 | 50.0188090E+00 | DC1100V |  | 90.9084151805 | 3.3140968673800275e-05 | 1522282839.321 | 1522282854.444 | 90.9084 | 90.9084 | 90.9085 | 90.9085 | 90.9085 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9083 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9084
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1522282869.321 | 1522282869.324 | 172.726