## Sheet
instruments: | Meter: HP | S: FL5730 | X: FL5700
Start Row | 1415 | Stop Row | 1887
| X Range | X Settings (V) | S Range | S Settings (V) | DVM Range | Nominal reading | #Readings | Delay (S) | DVM pause | DVM status | S status | X status | Mean | STD | start time | end time | readings...
| 20 | -10.0 | 10 | -10.0 | 10 | -0.0 | 20.0 | 10.0 | 0.0 | 50.0758460E+00 | DC11V |  | -3.3458087377500001e-05 | 5.3925989076355981e-07 | 1522286892.318 | 1522286907.775 | -3.3006e-05 | -3.4936e-05 | -3.4022e-05 | -3.3433e-05 | -3.3728e-05 | -3.3742e-05 | -3.4582e-05 | -3.3463e-05 | -3.3315e-05 | -3.333e-05 | -3.3138e-05 | -3.2888e-05 | -3.3374e-05 | -3.2991e-05 | -3.3256e-05 | -3.3359e-05 | -3.3713e-05 | -3.2903e-05 | -3.2726e-05 | -3.3256e-05
| 20 | 0 | 10 | 0 | 10 | 0 | 20.0 | 10.0 | 0.0 | 50.0002264E+00 | DC220MV |  | 1.7527983179499999e-06 | 3.2441643236926567e-07 | 1522286922.63 | 1522286938.074 | 1.6658e-06 | 1.312e-06 | 1.3268e-06 | 1.1941e-06 | 1.9164e-06 | 1.7838e-06 | 1.9459e-06 | 1.4742e-06 | 1.43e-06 | 2.0786e-06 | 2.167e-06 | 1.3268e-06 | 1.5037e-06 | 2.0638e-06 | 1.7543e-06 | 1.8575e-06 | 2.1081e-06 | 2.2113e-06 | 2.1965e-06 | 1.7395e-06
| 20 | -10.0 | 10 | 0 | 10 | -10.0 | 20.0 | 10.0 | 0.0 | 49.9700557E+00 | DC220MV |  | -10.000054387 | 2.6147848873437143e-07 | 1522286952.918 | 1522286968.335 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001
source S: 804 reading 0 is more than 0.1% from nominal. reading 1 is more than 0.1% from nominal. reading 2 is more than 0.1% from nominal. reading 3 is more than 0.1% from nominal. reading 4 is more than 0.1% from nominal. reading 5 is more than 0.1% from nominal. reading 6 is more than 0.1% from nominal. reading 7 is more than 0.1% from nominal. reading 8 is more than 0.1% from nominal. reading 9 is more than 0.1% from nominal. reading 10 is more than 0.1% from nominal. reading 11 is more than 0.1% from nominal. reading 12 is more than 0.1% from nominal. reading 13 is more than 0.1% from nominal. reading 14 is more than 0.1% from nominal. reading 15 is more than 0.1% from nominal. reading 16 is more than 0.1% from nominal. reading 17 is more than 0.1% from nominal. reading 18 is more than 0.1% from nominal. reading 19 is more than 0.1% from nominal. | 1000 | 190.0 | 1000 | 0 | 1000 | 190.0 | 20.0 | 10.0 | 0.0 | 49.9711817E+00 | DC1100V |  | 172.72591599500001 | 3.7763666069088377e-05 | 1522286983.896 | 1522286999.019 | 172.7259 | 172.7259 | 172.726 | 172.726 | 172.726 | 172.7259 | 172.726 | 172.7259 | 172.7259 | 172.7259 | 172.7259 | 172.7259 | 172.7259 | 172.7259 | 172.7259 | 172.7259 | 172.7259 | 172.7259 | 172.7259 | 172.7259
source S: 2232 reading 0 is more than 0.1% from nominal. reading 1 is more than 0.1% from nominal. reading 2 is more than 0.1% from nominal. reading 3 is more than 0.1% from nominal. reading 4 is more than 0.1% from nominal. reading 5 is more than 0.1% from nominal. reading 6 is more than 0.1% from nominal. reading 7 is more than 0.1% from nominal. reading 8 is more than 0.1% from nominal. reading 9 is more than 0.1% from nominal. reading 10 is more than 0.1% from nominal. reading 11 is more than 0.1% from nominal. reading 12 is more than 0.1% from nominal. reading 13 is more than 0.1% from nominal. reading 14 is more than 0.1% from nominal. reading 15 is more than 0.1% from nominal. reading 16 is more than 0.1% from nominal. reading 17 is more than 0.1% from nominal. reading 18 is more than 0.1% from nominal. reading 19 is more than 0.1% from nominal. | 1000 | 100 | 1000 | 0 | 1000 | 100 | 20.0 | 10.0 | 0.0 | 49.8903777E+00 | DC1100V |  | 90.908388421500007 | 2.9657864771837612e-05 | 1522287013.879 | 1522287029.031 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9084 | 90.9085 | 90.9083 | 90.9084 | 90.9084
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1522287043.88 | 1522287043.883 | 172.7258