## Sheet
instruments: | Meter: HP | S: FL5730 | X: FL5700
Start Row | 1415 | Stop Row | 1887
| X Range | X Settings (V) | S Range | S Settings (V) | DVM Range | Nominal reading | #Readings | Delay (S) | DVM pause | DVM status | S status | X status | Mean | STD | start time | end time | readings...
| 20 | -10.0 | 10 | -10.0 | 10 | -0.0 | 20.0 | 10.0 | 0.0 | 49.9883093E+00 | DC11V |  | -3.3268484035999996e-05 | 3.8846225722575954e-07 | 1522287622.364 | 1522287637.815 | -3.274e-05 | -3.2813e-05 | -3.3358e-05 | -3.4095e-05 | -3.352e-05 | -3.3108e-05 | -3.355e-05 | -3.352e-05 | -3.3285e-05 | -3.3476e-05 | -3.3403e-05 | -3.38e-05 | -3.2798e-05 | -3.2474e-05 | -3.3609e-05 | -3.327e-05 | -3.2902e-05 | -3.3064e-05 | -3.3049e-05 | -3.3535e-05
| 20 | 0 | 10 | 0 | 10 | 0 | 20.0 | 10.0 | 0.0 | 49.9683502E+00 | DC220MV |  | 1.7315268736000003e-06 | 3.0629872165594364e-07 | 1522287652.66 | 1522287668.146 | 1.5012e-06 | 1.2804e-06 | 2.1782e-06 | 1.045e-06 | 1.7367e-06 | 1.6484e-06 | 1.7514e-06 | 1.7072e-06 | 2.0457e-06 | 1.3393e-06 | 2.0605e-06 | 1.7367e-06 | 2.1046e-06 | 1.4423e-06 | 1.5601e-06 | 1.7808e-06 | 1.7367e-06 | 2.2076e-06 | 1.722e-06 | 2.0457e-06
| 20 | -10.0 | 10 | 0 | 10 | -10.0 | 20.0 | 10.0 | 0.0 | 50.0565781E+00 | DC220MV |  | -10.000053822999998 | 3.329879875827075e-07 | 1522287683.004 | 1522287698.433 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001 | -10.0001
source S: 804 reading 0 is more than 0.1% from nominal. reading 1 is more than 0.1% from nominal. reading 2 is more than 0.1% from nominal. reading 3 is more than 0.1% from nominal. reading 4 is more than 0.1% from nominal. reading 5 is more than 0.1% from nominal. reading 6 is more than 0.1% from nominal. reading 7 is more than 0.1% from nominal. reading 8 is more than 0.1% from nominal. reading 9 is more than 0.1% from nominal. reading 10 is more than 0.1% from nominal. reading 11 is more than 0.1% from nominal. reading 12 is more than 0.1% from nominal. reading 13 is more than 0.1% from nominal. reading 14 is more than 0.1% from nominal. reading 15 is more than 0.1% from nominal. reading 16 is more than 0.1% from nominal. reading 17 is more than 0.1% from nominal. reading 18 is more than 0.1% from nominal. reading 19 is more than 0.1% from nominal. | 220 | 190.0 | 220 | 0 | 1000 | 190.0 | 20.0 | 10.0 | 0.0 | 49.9924304E+00 | DC1100V |  | 172.72579913499999 | 2.8134343337387599e-05 | 1522287713.999 | 1522287729.105 | 172.7257 | 172.7258 | 172.7258 | 172.7258 | 172.7258 | 172.7258 | 172.7258 | 172.7258 | 172.7258 | 172.7258 | 172.7258 | 172.7258 | 172.7258 | 172.7258 | 172.7258 | 172.7258 | 172.7258 | 172.7259 | 172.7258 | 172.7258
source S: 2232 reading 0 is more than 0.1% from nominal. reading 1 is more than 0.1% from nominal. reading 2 is more than 0.1% from nominal. reading 3 is more than 0.1% from nominal. reading 4 is more than 0.1% from nominal. reading 5 is more than 0.1% from nominal. reading 6 is more than 0.1% from nominal. reading 7 is more than 0.1% from nominal. reading 8 is more than 0.1% from nominal. reading 9 is more than 0.1% from nominal. reading 10 is more than 0.1% from nominal. reading 11 is more than 0.1% from nominal. reading 12 is more than 0.1% from nominal. reading 13 is more than 0.1% from nominal. reading 14 is more than 0.1% from nominal. reading 15 is more than 0.1% from nominal. reading 16 is more than 0.1% from nominal. reading 17 is more than 0.1% from nominal. reading 18 is more than 0.1% from nominal. reading 19 is more than 0.1% from nominal. | 220 | 100 | 220 | 0 | 1000 | 100 | 20.0 | 10.0 | 0.0 | 50.0727377E+00 | DC1100V |  | 90.908341852499987 | 2.9521202699450273e-05 | 1522287743.998 | 1522287759.125 | 90.9084 | 90.9084 | 90.9083 | 90.9083 | 90.9083 | 90.9083 | 90.9083 | 90.9083 | 90.9083 | 90.9084 | 90.9083 | 90.9083 | 90.9083 | 90.9084 | 90.9084 | 90.9084 | 90.9083 | 90.9084 | 90.9084 | 90.9084
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1522287774.014 | 1522287774.017 | 172.726